IT at the IIHE
F. Blekman, O. Devroede, D. Dutrannois, S. Gérard,
R. Rougny, S. Rugovac, A. Scodrani, P. Vanlaer

---
The IT team
Romain Rougny
Adriano Scodrani
Stéphane Gérard
Olivier Devroede
Shkelzen Rugovac
Denis Dutrannois
Cloud
Cluster
General Support
support-iihe@ulb.ac.be
Tier2 Belgium
grid_admin@listserv.vub.ac.be
Phone : +32 2 629 33 26

---
Support Activities

---
Booking on Indico
Booking devices & rooms unified
More intuitive UI
Easier room & devices identification

---
HTTPS on our websites
HTTPS is the new web standard
S stands for secure

---
HTTPS on our websites
Major IIHE websites are secured with HTTPS
Auditing of our setup…

---
Data recovery for users
New devices to recover hard drive data
Improved compatibility
Extract information from any kind of computer

---
Purchases
Generic configuration
Custom configuration	Where you want...
Apple devices

---
T2B Activities

---
Grid Cluster: Figures and facts
- From 1st Sept 2018 to 1st Sept 2019:
  - Integrated computation time: 6515 years
    - Increase of 10% since last meeting
  - Cluster filled at 91 %
- Mass storage [ /pnfs ] as of now:
Used Storage

---
New Data Storage Servers
- Storage nodes : +4 nodes, +2096TB
    Total: 6980 TB
- Dense solution made of
    60 x 12TB disks per node (previously: 36 x 6TB per node)

---
New Computing Power
- Worker nodes: +28 nodes, +1312 slots
    Total: 8300 slots
- Intel Xeon Scalable Silver/Gold CPU
- Solution per node
  - Between 40-56 HT CPU-cores
  - Between 160-224 GB RAM
  - 10Gbps Ethernet ports
node

---
New 10Gbps Switch
- 48 x 10Gbps ports + 6 x 100Gbps ports
- Required to connect all the new WNs to the internal network
- Firewalling functionalities

---
External Network (WAN)
- Users were suffering from bad connections to and from the T2B infrastructure
- Use of our 10Gbps switch for more efficient firewalling than our old dedicated server
      - Can achieve 10Gbps in both up and down!
      - No more packet drops
      - Now, the bottleneck is our 10Gbps line
[Speaker Notes: Axis]

---
External Network (WAN)
- Users were suffering from bad connections to and from the T2B infrastructure
- Use of our 10Gbps switch for more efficient firewalling than our old dedicated server
      - Can achieve 10Gbps in both up and down!
      - No more packet drops
      - Now, the bottleneck is our 10Gbps line
New Firewall
[Speaker Notes: Axis]

---
Long and Winding Road to a 100Gbps Line
1st solution from Belnet
VUB @ 100Gbps
SoLid @ 1Gbps
T2B @ 19 Gbps
Belnet ↔ GEANT
peering increase
from 20 to 100Gbps
Separate contacts with
VUB & ULB network teams
(€ of 3x10Gbps = € of 100Gbps)
Decision to share
100Gbps with
VUB+VSC
SoLid @ 1Gbps
T2B @ 15 Gbps
First contact with Belnet
100Gbps hard to get
T2B @ 20Gbps
Nov
2018
Dec
2018
Jan
2019
Jun
2019
Aug
2019
Oct
2019
Dec
2019
Also plan to connect our server room (G0@VUB) to the T2B@ULB via a new 10Gbps line to efficiently host backup & critical services at the VUB

---
News
- We upgraded dCache:
  - Latest dCache version
  - Migration of Storage Element (maite) to new hardware
    - Use of SSD
    - More RAM
    => No more crashes
- Puppet
  - We need a tool to automate installation and maintenance of all our machines
    - We are currently using Quattor
  - We started to use Puppet and we already have a prototype
    - Puppet comes with a wide community of users (many Tier2 sites & CERN)
    - Lots of modules are ready (batch system, EL7 migration)

---
Replacing
Batch System + Grid Computing Element (CE)
- Currently Torque/Maui (qsub) + CreamCE
  - Not scalable
  - CreamCE end-of-life 12/2020
- Will go for HTCondor + HTCondorCE
  - Adds scalability
  - Used by most users in other Tier2 sites, CERN & Madison
    - Comes with lots of features (can handle complex workflows)
    - New syntax, python bindings and well documented

---
Transition to EL7
- Singularity container solution
  - Documented in our wiki
    - Feedbacks are welcome
  - We made it easy
    - From UIs: sl7 bash
    - In the jobs on the WNs: sl7 /user/$USER/MYSCRIPT.sh
- New HTCondor cluster will be EL7
  - Puppet will help here too
  - Possibility to use EL6 containers
  - And also EL8 containers!

---
Improvements at the data center
- The new cold containment works well
  - But, in summer we had to stop equipment
  - And,... still not enough!

---
Future works at the data center
Garden
Hose
- The new cold containment works well
  - But, in summer we had to stop equipment
  - And,... still not enough!
  - Had to hose the cooling unit

---
Future works at the data center
Garden
Hose
- The new cold containment works well
  - But, in summer we had to stop equipment
  - And,... still not enough!
  - Had to hose the cooling unit
- More work is needed
  - Optimize hot & cold air flow
  - Will add more cooling capacity
  - Will be done in 2020

---
Thanks !
Questions ?